Settings

| Accelerating Voltage | 20.00 kV |
| --- | --- |
| Specimen Tilt (degrees) | 70.00 ° |
| Hit Rate | 84.25 % |
| Speed of Acquisition | 275.50 Hz |

Phases for Acquisition

| Phase | a | b | c | Alpha | Beta | Gamma | Space Group | Database |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Iron bcc (old) | 2.87 Å | 2.87 Å | 2.87 Å | 90.00 ° | 90.00 ° | 90.00 ° | 229 | HKL |

Phase Fraction

| Phase Name | Phase Fraction (%) | Phase Count | Mean Band Contrast | Standard Deviation Band Contrast | Min Band Contrast | Max Band Contrast | Mean MAD | Standard Deviation MAD | Min MAD | Max MAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Iron bcc (old) | 84.25 | 599255 | 111.10 | 23.68 | 34.00 | 194.00 | 0.69 | 0.19 | 0.14 | 2.00 |
| Zero Solutions | 15.75 | 112008 | 78.43 | 17.22 | 0.00 | 170.00 |  |  |  |  |